General Guidelines: ArrayStat 1.0

- Adjust data from Imagene 5.2 to correct format

A. Mean signal (place control 1 in column B place exp 1 in column C etc)

- Save excel data sheet on desktop (Sheet 1=data Sheet 2=ORFs  Sheet 3=empty)

- Open ArrayStat 1.0

A. Choose import data

- Browse and direct the computer to the data set

- Use pull down menu found at  …

  - Import data into new experiment (only if it is the first time using the program)

    - Name experiment (use a general name that is appropriate for all similar experiments, for example your name)

    - For template select or type in new name

    - Enter the number of conditions (2 i.e. comparing 2 different food sources)

    - Enter the number of replicates (usually 2x the number of slides)

    - SAVE

    - Set up parameters for replicates (make sure that the correct columns and rows are selected)

    - SAVE

    - Finish

  - Import data into an existing experiment

    - Choose experiment that you want data to be imported into

    - Under Experiment structure menu make changes to the template (ie names of replicate groups)

    - Choose next

    - Edit # of replicates or format design

    - Choose finish

B. Choose load Data (if data has already been imported into an experiment)

- Data should pop up after several minutes

- Analysis

- Under the analysis pull down menu choose model selection

- Select experiment sets to analyze and click ok

- Chose model selection (automatic model selection)

- Chose conditions (Dependent)

- Choose minimum # of replicates and choose next (2)

- Choose the random error estimation model (pooled common error)

- Choose outlier detection (yes)

- Choose outlier threshold and choose next and then finish (auto)

- Save a copy of the report (third sheet-excel)

- Under analysis pull down choose statistical tests

  - Computer will prompt as to which analysis tool to use (z-test for two dependent conditions)

  - Choose your replicate set (data from above)

  - Choose the normalization (median)

  - Choose the nominal alpha (0.05)

  - Choose the multiple test correction (Bonferroni)

  - Data is presented

  - Copy report (to third sheet of excel)

  - Copy data and headings back to excel data (sheet 2)